## Simple
Sevest Ref. | Invoice No. | Site Name | Date Logged | Issue / Incident Description | Category | Solution: Reason For ADHOC Billing | #R | Labour Hrs. | Rate | Labour Ttl. | Material Ttl. | Material Description | Mileage (Km) | Mileage Ttl | Inv Excl. | TAX | Inclusive | Approved | Seavest Comments | BP Comments
8104625 | B145 | BP Sibaya | 05 Dec 2017 | Shop air con is not cooling | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Washed out filters and defrosted evaporator coil. Removed defective fan belt. Returned to site and fitted new v-belts. , |  | 2 | 483.75 | 967.5 | 580 | V-Belts, | 140 | 1281 | 2828.5 | 395.99 | 3224.49
8105400 | B145 | BP Waterloo | 05 Dec 2017 | Counter bar fridge not cooling | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Replaced evaporator fan motor and blades Topped up gas and pressure tested for leaks. No leaks found. , |  | 1 | 483.75 | 483.75 | 1462 | Fan Motor , Fan blade 200mm, R22 Gas, | 30 | 274.5 | 2220.25 | 310.84 | 2531.09
8105368 | B145 | BP Dube Village Mall | 05 Dec 2017 | WBC bar fridge is not cooling | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Washed condenser and repaired leak. Topped up unit with gas. , |  | 2 | 483.75 | 967.5 | 650 | R22 Gas, | 32 | 292.8 | 1910.3 | 267.44 | 2177.74
8103226 | B145 | BP Ridge Oasis | 05 Dec 2017 | Walk in cooler air curtains need replacement | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Supplied and fitted 6x curtain strips in the coldroom., |  | 1 | 483.75 | 483.75 | 1740 | Curtain strips , | 70 | 640.5 | 2864.25 | 401 | 3265.25
8105694 | B145 | BP Kwa Mashu Service Station | 05 Dec 2017 | Dairy chiller not cooling - @ staggering +18 degrees celcius | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Made work area safe. Defrost and removed all ice build up from the coils. Adjusted temperature. , |  | 1 | 483.75 | 483.75 | 0 | , | 34 | 311.1 | 794.85 | 111.28 | 906.13
8106022 | B145 | Daniels Auto Centre | 05 Dec 2017 | Shop air con is leaking water | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Repaired water leak on unit and washed out unit. , |  | 2 | 483.75 | 967.5 | 0 | , | 170 | 1555.5 | 2523 | 353.22 | 2876.22
8106006 | B145 | BP Northdene | 05 Dec 2017 | Freezer room is not working .. .. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Repaired burnt wiring and replaced contactor., |  | 2 | 483.75 | 967.5 | 787 | Contactor and wring , | 60 | 549 | 2303.5 | 322.49 | 2625.99
[8 empty] | 11 |  | 5321.25 | 5219 |  | 536 | 4904.4 | 15444.65 | 2162.26 | 17606.91