## Simple
Sevest Ref. | Invoice No. | Site Name | Date Logged | Issue / Incident Description | Category | Solution: Reason For ADHOC Billing | #R | Labour Hrs. | Rate | Labour Ttl. | Material Ttl. | Material Description | Mileage (Km) | Mileage Ttl | Inv Excl. | TAX | Inclusive | Approved | Seavest Comments | BP Comments
8077537 | B174 | Moore Rd Service Station | 24 Apr 2017 | Cupboards in Wild Bean Cafe is damaged and doors is falling off | Reactive Maintenance | Created a safe working area. safely removed the counter top and store in safe keeping for re-use. Dismantled the dilapidated under counter cupboard for safe disposal. Installed a new custom made under counter cupboard (2370 x 600 x 860) complete with new handles and sliding rails. Prepared and re-installed the counter top., |  | 10 | 400 | 4000 | 5873 | Custom made cupboard, Door Handles, Sliding Rails, | 48 | 408 | 10281 | 1439.34 | 11720.34
8080751 | B174 | BP Northdene | 18 May 2017 | 30 tiles are chipped and cracked | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessment done for floor tiles in the shop., |  | 0 | 550 | 0 | 800 | Call out charges as Agreed, | 0 | 0 | 800 | 112 | 912
8093431 | B174 | BP Arena Park | 25 Aug 2017 | Electricity room door is damaged | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed electricity room door., |  | 0 | 550 | 0 | 800 | Call out charges as Agreed, | 0 | 0 | 800 | 112 | 912
8114399 | B174 | Moore Rd Service Station | 2018-02-23 | Repair work to concrete surface | Reactive Maintenance | created a safe barricaded work area. Chipped into the defective concrete surfaces in different areas in the stockroom and receiving area totaling to 10m2. Excavated 50mm deep and deported all debris offsite 0.5m3. Patched all chipped areas by laying 50mm concrete reinforced using brick mesh. Wood float the concreted areas to smoothen any rough areas. Allowed for the concrete to cure overnight. Applied silicon within all expansion joints., |  | 6 | 430 | 2580 | 2892 | Silicon, Sand, Stone, Brick Force, NPC Blue Cement, | 66 | 603.9 | 6075.9 | 850.626 | 6926.53
8118663 | B174 | Daniels Auto Centre | 19 Mar 2018 | forecourt roof leaking from where its joined with the gutter | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Cordoned of work area with metal barricades to make safe. Erected mobile tower scaffold and ascended to canopy to assess. Prepared all problem areas on canopy and canopy gutter. Applied first coat sika raintite and membrane to affected areas. Allowed to cure before applying second coat. Conducted water test for leaks. Cleaned up work area and made safe., |  | 2 | 430 | 860 | 1050 | mobile scaffolding, water proofing kit, | 174 | 1592.1 | 3502.1 | 525.315 | 4027.42
8119188 | B174 | BP Cascades Service Station | 22 Mar 2018 | WBC swing doors broken .. .. ... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found swing door hinges to be replaced. Drilled and Removed old door hinges and replaced with new. Secured new hinges with pop rivets and screws. Tested swing door and is working well. , |  | 3 | 430 | 1290 | 810 | Swing door hinges, Consumables(pop rivets,drill bit,gloves,screws), | 176 | 1610.4 | 3710.4 | 556.56 | 4266.96
8119831 | B174 | BP Clare Road | 22 Mar 2018 | Customer knocked pole outside in forecourt. needs to be repaired | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed pole and due to bad weather will return to apply concrete to pole. Returned to site barricaded work area. Secured crash barrier with concrete and and plastered around area. , |  | 3 | 430 | 1290 | 710 | Premix concrete, Premix plaster, Expansion bolts, | 64 | 585.6 | 2585.6 | 361.984 | 2947.58
8119897 | B174 | BP Raisethorpe | 28 Mar 2018 | Water leaking in the Back office,coming through the roof | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed roof in office and Prepared all problem areas. Applied first coat sika raintite and membrane to affected areas. Allowed to cure before applying second coat. Conducted water test for leaks. Cleaned up work area and make safe., |  | 2 | 430 | 860 | 550 | water proofing kit, | 174 | 1592.1 | 3002.1 | 450.315 | 3452.42
8121945 | B174 | La Lucia Ridge Oasis | 11 Apr 2018 | Roof boards infront of the shop are being shaken by the wind all time because its loose. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Created a safe barricaded work area. Assessed and secured roof panels on the shopfront with tex screws., |  | 2 | 430 | 860 | 45 | Consumables(Tex screws, drill bit), | 10 | 91.5 | 996.5 | 149.475 | 1145.98
8121649 | B174 | Montwood Motors | 11 Apr 2018 | Toilet at petrol side not flushing | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found toilet not flushing correctly. Installed new jolly flusher kit to existing toilet system. Tested toilet it is working correctly., |  | 1 | 430 | 430 | 480 | Jolly flusher kit, | 50 | 457.5 | 1367.5 | 205.125 | 1572.63
8116087 | B174 | BP Kwa Mashu Service Station | 16 Apr 2018 | 1 x exit barrier is broken .. .. . . | Reactive Maintenance | Created a safe barricaded work area. Supplied and installed 1 new prefabricated steel crash barrier. Prepared and painted the crash barrier as per BP spec. Installed reflector tape around the newly installed barrier., |  | 4 | 430 | 1720 | 6283.38 | Plascon Velvaglo Yellow, Reflector Tape, Prefabricated Steel Crash Barrier Pole, Plascon Velvaglo White, Plascon Galvanized Primer, | 20 | 183 | 8186.38 | 1227.957 | 9414.34
8122470 | B174 | New Germany Service Centre | 16 Apr 2018 | Water pipes leaking in female change room | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found water leak on wall in womens changeroom. Removed soap dispenser, wall tiles and plaster. Repaired burst pipe. Turned on water supply to test for leaks. Replastered wall and left to dry. Fitted soap dispenser. Returned to site and fitted new mirror and fitted two wall tiles and applied grout around area where tile was fitted., |  | 4 | 430 | 1720 | 610 | Cement and sand mix, Consumables(Couplers,copper pipe,screws,two way tape), 300 x 300 mirror panel, tile fix, No nail glue, | 88 | 805.2 | 3135.2 | 470.28 | 3605.48
8120767 | B174 | BP West Street | 18 Apr 2018 | Customer toilet urinal is blocked | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found urinal basin blocked. Removed P trap and cleaned it. Reinstalled Ptrap and flushed waste pipe with drain cleaner. Waited for drain cleaner to work then flushed pipe with water. Tested and urinal is working correctly., |  | 2 | 430 | 860 | 300 | Drain cleaner, | 20 | 183 | 1343 | 201.45 | 1544.45
8122340 | B174 | New Germany Service Centre | 18 Apr 2018 | The Dry-wall in the wild bean cafe passage is damage. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Supplied and fitted two metal panels to the bottom section of the drywall. Painted 4 square metres of the dry wall red . , |  | 2 | 430 | 860 | 1512 | Velvaglo non drip waterbased red paint, Pattex Nail Glue , Metal panels, Galvanized primer, | 44 | 402.6 | 2774.6 | 416.19 | 3190.79
8123080 | B174 | BP Kwa Mashu Service Station | 18 Apr 2018 | water overflowing at the wall of Wild bean | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Removed two tiles and plaster to expose damaged pipe. Repaired water leak and tested it is working well. Left area exposed to monitor leak. , Returned to site checked repaired area and found not leaking. Replaced two tiles that were removed to fix leak. Applied tile fix and fitted tiles. Applied grout and left to dry. , |  | 2 | 488 | 918 | 150 | white wall tiles, Tile fix , White tile grout, | 40 | 366 | 1434 | 215.1 | 1649.1
8122739 | B174 | BP Ridge Oasis | 19 Apr 2018 | Ladies Public ablutions - stalls 4 & 5 - pan seals are leaking where they join the pipe in the wall and inlet pipes | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed job and found pan seals leaking at the pipe join on the wall. Returned to site and removed ,reset and sealed pipe from the flush master to the pan. Secured flush master to wall. Tested toilet and it is working correctly., |  | 3 | 430 | 1290 | 180 | silicone, Rubber o ring seal, | 200 | 1830 | 3300 | 495 | 3795
8120876 | B174 | Drive In Motors | 19 Apr 2018 | cashiers door is closing very slow | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed door and will return to site with spares. Returned to site Removed damaged heavy duty hinges and replaced with new hinges. Secured hinges with screws and tested door it is working well., |  | 3 | 430 | 1290 | 820 | Heavy duty hinges, screws, | 152 | 1390.8 | 3500.8 | 0 | 3500.8
8123128 | B174 | BP Kwa Mashu Service Station | 20 Apr 2018 | Shop drain pipe is blocked . . . . . . . | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found drain blocked at walk in freezer and Wild bean coffee machine outlet drain. Unblocked Freezer drain using drain rods and tested drainage using water. Unblocked coffee machine drain which is linked to freezer drain., |  | 2 | 430 | 860 | 0 | drain rods, | 20 | 183 | 1043 | 156.45 | 1199.45
8123102 | B174 | BP Hillcrest | 20 Apr 2018 | Pump 3&4 air hose trigger does not hold air and deflates when pumping tires. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and replaced new service kit on pump 3 and 4 hanheld gauge. , |  | 2 | 430 | 860 | 700 | service kit, | 80 | 732 | 2292 | 343.8 | 2635.8
8123225 | B174 | BP Arena Park | 21 Apr 2018 | Tap is leaking in the kitchen area | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found sink mixer in kitchen needs to be replaced. Turned off water supply to kitchen sink. Removed old sink mixer and replaced with new cobra mixer. Turned on water supply and tested mixer it is working correctly., |  | 3 | 430 | 1290 | 2570 | Cobra sink mixter, | 70 | 640.5 | 4500.5 | 675.075 | 5175.58
8123834 | B174 | BP Kwa Mashu Service Station | 26 Apr 2018 | a stand mounted on the kitchen sink has fallen Kitchen rack needs to be mounted on wall | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found kitchen rack needs to be mounted on wall. Returned to site and drilled new holes on wall and mounted rack unto wall secured with hilties. Covered old holes with silicone., |  | 2 | 430 | 860 | 145 | 8mm Hiltie bit , Hiltie screws 8mm, | 40 | 366 | 1371 | 205.65 | 1576.65
8123980 | B174 | BP Waterloo | 27 Apr 2018 | Female toilet is blocked .. ... ... . | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found toilet blocked. Unblocked sewer pipe Fitted 50mm breeder vent pipe onto outlet pipe and fitted bracket to holder pipe. Flushed toilet to test water flowing correctly. , |  | 1 | 430 | 430 | 259 | 50 mm Pvc pipe, Pvc boss connector, bracket, Pressure vent valve, Heavy duty Pvc glue, | 40 | 366 | 1055 | 158.25 | 1213.25
8122423 | B174 | Montwood Motors | 30 Apr 2018 | Back toilet is not flushing | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found toilet not flushing. Replaced damaged toilet mechanism with new. Removed old damaged seat and replaced with new toilet seat. Tested toilet and it is working well., |  | 1 | 430 | 430 | 880 | Toilet cistern mechanism, Toilet seat white, | 54 | 494.1 | 1804.1 | 0 | 1804.1
8120128 | B174 | BP Kwa Mashu Service Station | 30 Apr 2018 | Attend to auto sliding door .. .. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Secured loose end piece on magazine shelf. Replaced worn floor giude. Adjusted door height to clear floor tiles. Retracked drive belt and reset door operator. Returned to site and replaced worn out return pulley. Reset door operator tested door and it is working correctly., |  | 3 | 488 | 1464 | 3290 | Floor guide, Return pulley , | 40 | 366 | 5120 | 768 | 5888
8124075 | B174 | BP Kwa Mashu Service Station | 30 Apr 2018 | Toilet is overflowing .. ... ... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and adjusted flushmaster on toilet. Tested toilet and working correctly., |  | 1 | 430 | 430 | 0 | , | 20 | 183 | 613 | 91.95 | 704.95
8120131 | B174 | BP Kwa Mashu Service Station | 30 Apr 2018 | There is a leak from the ceiling | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Cordoned of work area. Prepared all problem areas. Applied first coat sika raintite and membrane to affected area above ceiling. Allowed to cure before applying second coat. Conducted water test for leaks. Cleaned up work area and make safe., |  | 2 | 430 | 860 | 550 | water proofing kit, | 20 | 183 | 1593 | 238.95 | 1831.95
8124593 | B174 | Harrismith Road Motors | 02 May 2018 | Forecourt leak detection to be performed on forecourt. Seavest to attend urgently. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed water leak underground under concrete. Water line to be rerouted, |  | 2 | 430 | 860 | 0 | , | 488 | 4465.2 | 5325.2 | 798.78 | 6123.98
8120806 | B174 | Araf Fuel Centre | 09 May 2018 | Cashier kiosk door release button fell off | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found door release door button broken. Fitted new door release door button. Tested door and it is working correctly., |  | 1 | 488 | 488 | 480 | Push button, | 44 | 402.6 | 1370.6 | 205.59 | 1576.19
8123468 | B174 | BP Richmond Road | 09 May 2018 | Cashier control door is not working | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and repaired access control door. Rewired keypad, maglock and release button. Tested access controlled door and it is working correctly., |  | 2 | 488 | 976 | 0 | , | 50 | 457.5 | 1433.5 | 215.025 | 1648.53
[8 empty] | 71 |  | 30636 | 32739.38 |  | 2292 | 20940.6 | 84315.98 | 11646.237 | 95962.25