## Simple
Sevest Ref. | Invoice No. | Site Name | Date Logged | Issue / Incident Description | Category | Solution: Reason For ADHOC Billing | #R | Labour Hrs. | Rate | Labour Ttl. | Material Ttl. | Material Description | Mileage (Km) | Mileage Ttl | Inv Excl. | TAX | Inclusive | Approved | Seavest Comments | BP Comments
8061883 | B50 | New Germany Service Centre | 20 Dec 2016 | wild bean fridge door handle broken. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Attended to site and assessed. Require to replace broken door handle. Suppliers are out of stock. Returned to site with part and fitted to the fridge. , |  | 1 | 450 | 450 | 595 | Under bar fridge door handle , | 104 | 884 | 1929 | 270.06 | 2199.06
8065390 | B50 | La Lucia Ridge Oasis | 20 Jan 2017 | Walk in fridge sliding door faulty | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Made work area safe. Re-positioned the door rollers and guide. Lubricated the door track for easy movement as a temporary fix. Returned to site and replaced sliding mechanism. , |  | 2 | 900 | 450 | 989 | Sliding mechanism and lubricate , | 64 | 544 | 2433 | 340.62 | 2773.62
8065950 | B50 | BP Dube Village Mall | 24 Jan 2017 | Shop floor air condition is not working | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Made work area safe. Washed filters and cleaned evaporator and condenser coils. , |  | 3 | 1350 | 450 | 875 | Coil cleaner , | 50 | 425 | 2650 | 371 | 3021
8066323 | B50 | BP Raisethorpe | 27 Jan 2017 | Air con still leaking in the office | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Defrost and removed ice build up from coils.Cleaned blower wheel. , |  | 2 | 900 | 450 | 0 | , | 80 | 680 | 1580 | 221.2 | 1801.2
8066618 | B50 | BP Chatsworth Circle | 30 Jan 2017 | Walk in freezer temp at 0 degrees for past 5 hours | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed unit. Defrost coils and unblocked the drain. Adjusted defrost timer and tested cycle. Monitored temperature. , |  | 6 | 2700 | 450 | 0 | , | 50 | 425 | 3125 | 437.5 | 3562.5
8066705 | B50 | Westville Autohouse | 30 Jan 2017 | Drinks chiller temp too high | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found the unit was on defrost cycle and working fine. , |  | 0 | 0 | 563 | 800 | Call Out Charge as per agreed rate, | 0 | 0 | 800 | 112 | 912
8067039 | B50 | BP Arena Park | 01 Feb 2017 | Undercounter bar fridge not cooling | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Defrosted coils and replaced faulty thermostat with new. , |  | 1 | 450 | 450 | 750 | Thermostat , | 60 | 510 | 1710 | 239.4 | 1949.4
8067131 | B50 | La Lucia Ridge Oasis | 01 Feb 2017 | walk in coldrink fridge temp to hilgh 13.7 deg | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Defrost condenser coils. Repaired leak on the expansion valve. Replaced 2x damaged orfice. Re-gassed unit and monitored the temperature. , |  | 3 | 1350 | 450 | 1750 | Orfice , R22 Gas, | 32 | 272 | 3372 | 472.08 | 3844.08
8067323 | B50 | BP Northdene | 02 Feb 2017 | dairy chiller temperature is too high sitting on plus 10 | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Made work area safe. Unblocked and washed the coils. Reset pressure switch. , |  | 2 | 900 | 450 | 350 | Coil cleaner , | 60 | 510 | 1760 | 246.4 | 2006.4
8067500 | B50 | BP Raisethorpe | 04 Feb 2017 | dairy and juice chiller not working temp at 22 one uint | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Defrost ice and topped up gas. Returned to site and replaced faulty solenoid valve and digital thermostat probe sensor. , |  | 5 | 2250 | 450 | 2500 | Gas, Solenoid valve and probe sensor , | 120 | 1020 | 5770 | 807.8 | 6577.8
8067471 | B50 | BP Sibaya | 04 Feb 2017 | WBC walk in freezer has a lot of ice build up | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Defrost and cleaned blocked coils. Topped up unit with gas and monitored temp. , |  | 2 | 900 | 450 | 825 | Coil cleaner , Gas, | 60 | 510 | 2235 | 312.9 | 2547.9
8067431 | B50 | BP Prospecton Road Service Sta | 04 Feb 2017 | Chillrer 2 temp is high not cooling | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that the wiring was burnt and capacitor was faulty. Rewired and fitted capacitor. , |  | 1 | 450 | 450 | 692 | Wiring, tape and capacitor , | 68 | 578 | 1720 | 240.8 | 1960.8
8067467 | B50 | Araf Fuel Centre | 04 Feb 2017 | Cold drink chiller lights are not working. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Replaced faulty bulb. , |  | 1 | 450 | 450 | 180 | Bulb , | 60 | 510 | 1140 | 159.6 | 1299.6
8066646 | B50 | La Lucia Ridge Oasis | 05 Feb 2017 | Fridge temp is too high | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that the coils were iced up. Defrost and cleaned coils. Monitored temp. , |  | 2 | 900 | 450 | 525 | Coil cleaner , | 34 | 289 | 1714 | 239.96 | 1953.96
8066661 | B50 | Araf Fuel Centre | 05 Feb 2017 | Double door chiller in kitchen storeroom is freezing up | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Defrost and removed ice build up. Re-gassed unit and monitored temperature. , |  | 3 | 1350 | 450 | 1980 | Gas 404A, | 70 | 595 | 3925 | 549.5 | 4474.5
8066421 | B50 | BP Clare Road | 05 Feb 2017 | Freezer is not cooling ... .... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that the system was short of gas due to a gas leak. Repaired gas leak and re-charged with gas. , |  | 4 | 1800 | 450 | 1994 | Gas , Flair Nuts, | 58 | 493 | 4287 | 600.18 | 4887.18
8066265 | B50 | La Lucia Ridge Oasis | 05 Feb 2017 | dairy chiller ballist not working | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that the balast, bulbs and starter was faulty. Removed faulty components and replaced with new. Tested and all was in good working condition. , |  | 2 | 900 | 450 | 1226 | Balast, Bulb, Starter, | 32 | 272 | 2398 | 335.72 | 2733.72
8067716 | B50 | BP Edendale Service Station | 06 Feb 2017 | The chiller temperature is high and it not working at all. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Cleaned coils and monitored temp., |  | 1 | 450 | 450 | 0 | , | 120 | 1020 | 1470 | 205.8 | 1675.8
[8 empty] | 41 |  | 8213 | 16031 |  | 1122 | 9537 | 44018 | 6162.52 | 50180.52