## Simple
Sevest Ref. | Invoice No. | Site Name | Date Logged | Issue / Incident Description | Category | Solution: Reason For ADHOC Billing | #R | Labour Hrs. | Rate | Labour Ttl. | Material Ttl. | Material Description | Mileage (Km) | Mileage Ttl | Inv Excl. | TAX | Inclusive | Approved | Seavest Comments | BP Comments
8071487 | B64 | Moore Rd Service Station | 04 Mar 2017 | Food chiller display is warm | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Replaced electronic control probe and washed condenser coils.Topped up with gas. , |  | 2 | 450 | 900 | 1100 | R22 Gas, Probe , | 52 | 442 | 2442 | 341.88 | 2783.88
8073247 | B64 | Umlazi Service Centre | 16 Mar 2017 | Fan motors need to be replaced as a temp measure | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Removed faulty condenser fan motor and replaced with new. , |  | 2 | 563 | 1126 | 2100 | Condenser fan motor , | 60 | 510 | 3736 | 523.04 | 4259.04
8073418 | B64 | BP Raisethorpe | 17 Mar 2017 | Mik and dairy chiller is not working | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that the sensor probe was not in the right place. Removed the probe and fitted in the correct place. Tested and monitored system. , |  | 2 | 563 | 1126 | 0 | , | 120 | 1020 | 2146 | 300.44 | 2446.44
8073458 | B64 | BP Richmond Road | 18 Mar 2017 | Air con is leaking on to the UPS | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Replaced damaged drain outlet pipe. , |  | 1 | 450 | 450 | 220 | Drain pipe and fittings, | 60 | 510 | 1180 | 165.2 | 1345.2
8073637 | B64 | BP West Street | 20 Mar 2017 | Coke fridges bulbs not working | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents, |  | 0 | 563 | 0 | 0 | , | 0 | 0 | 0 | 0 | 0
8073730 | B64 | BP Raisethorpe | 22 Mar 2017 | Under counter bar fridge is leaking water | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Defrosted coils and replaced faulty thermostat with new. , |  | 2 | 450 | 900 | 750 | Thermostat , | 120 | 1020 | 2670 | 373.8 | 3043.8
8073684 | B64 | BP Richmond Road | 23 Mar 2017 | Installation of air con in cashier s office | Reactive Maintenance | Cordon off the work area complete with cones, danger tape and warning signs. To decommission the old unit and dispose of safely. Isolate the power to the unit and place a lock out tag on the DB. To supply and install a new 12000BTU unit and reconnect the cooling pipes. Repair the damaged wiring to the unit. Remove the lock out tag and reconnect the power to the unit. Conduct a test of the unit. Clean up and make safe the work area., |  | 8 | 450 | 3600 | 12480 | Carrier 12000 BTU Split Unit, Gloves, Rugs, Wiring, Glasses, Lugs, Tread tape, | 50 | 425 | 16505 | 2310.7 | 18815.7
8073509 | B64 | BP Verulam | 23 Mar 2017 | Dairy chiller is not cooling ... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that the coils were badly iced up. Defrost and removed ice build up. Replaced faulty defrost timer with new. , |  | 3 | 563 | 1689 | 2239.88 | Defrost Timer , | 34 | 289 | 4217.88 | 590.5 | 4808.38
8073496 | B64 | Drive In Motors | 23 Mar 2017 | Freezer is not working ... ... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Defrost coils and repaired gas leak. Topped up unit with gas. Tested and found no leaks. , |  | 3 | 563 | 1689 | 1950 | Gas, | 75 | 637.5 | 4276.5 | 598.71 | 4875.21
8073291 | B64 | Araf Fuel Centre | 23 Mar 2017 | Cold drink chiller is leaking from top. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that pipe was loose and drain was blocked. Secured loose pipe with brackets and glued. Unblocked drain. Tested and found no leaks, |  | 2 | 563 | 1126 | 120 | Bracket and glue, | 0 | 0 | 1246 | 174.44 | 1420.44
8073290 | B64 | Araf Fuel Centre | 23 Mar 2017 | Milk daily chiller is leaking from the bottom, same chiller that was attended on the 15 March 2017, | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Cordon off work area and unblocked the main drain. , |  | 1 | 563 | 563 | 0 | , | 70 | 595 | 1158 | 162.12 | 1320.12
8073881 | B64 | BP Verulam | 23 Mar 2017 | Water fridge is leaking again | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Cordon off work area to make safe. Unblocked the main drain buy flushing with hot water and cleaning agent. , |  | 3 | 450 | 1350 | 525 | Cleaning agent, | 34 | 289 | 2164 | 302.96 | 2466.96
8073834 | B64 | Westville Autohouse | 23 Mar 2017 | shop air con is not cooling | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents.Tested and found that the control wire was faulty. Replaced with new and tested the system. Unit is working efficiently. , |  | 2 | 450 | 900 | 320 | Control wire , | 60 | 510 | 1730 | 242.2 | 1972.2
8073752 | B64 | Westville Autohouse | 23 Mar 2017 | food ,and drink, chiller unit leaking | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Cordon off work area and found main drain blocked. Unblocked by flushing line with water and cleaning agent. , |  | 1 | 450 | 450 | 350 | Cleaning agent, | 0 | 0 | 800 | 112 | 912
[8 empty] | 32 |  | 15869 | 22154.88 |  | 735 | 6247.5 | 44271.38 | 6197.99 | 50469.37