## Simple
Sevest Ref. | Invoice No. | Site Name | Date Logged | Issue / Incident Description | Category | Solution: Reason For ADHOC Billing | #R | Labour Hrs. | Rate | Labour Ttl. | Material Ttl. | Material Description | Mileage (Km) | Mileage Ttl | Inv Excl. | TAX | Inclusive | Approved | Seavest Comments | BP Comments
8068314 | B67 | Bullion Boulevard Express | 10 Feb 2017 | The pie freezer is not freezing | Reactive Maintenance | Isolate and remove the defective compressor and coil and replace the existing Cubistar unit with new unit, evacuate and recharge with gas, commission system and conduct a test. Once the test is passed and the freezer is operating correctly clean and make work area safe., |  | 12 | 450 | 5400 | 51375.58 | Cubistar Compressor Unit, Subsistence , Consumables (Tread tape, cabling, lugs ), R22 Gas, | 652 | 5542 | 62317.58 | 8724.46 | 71042.04
8074003 | B67 | BP Bluff | 23 Mar 2017 | Fridge is not working ... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found the wiring was burnt and the system had a gas leak. Re-wired and repaired the gas leak. Topped up system with gas and tested. Unit was holding pressure. , |  | 2 | 450 | 900 | 2400 | Wiring, gloves, tape, dust mask, Gas, | 60 | 510 | 3810 | 533.4 | 4343.4
8074174 | B67 | BP Dube Village Mall | 24 Mar 2017 | wbc bar fridge is rotten inside | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Reinforced and siliconed to temporarilly seal off.Returned to site and installed steel reinforcing support for wbc underbar fridge., |  | 5 | 450 | 2250 | 1270 | Steel reinforcing and silicon , | 100 | 850 | 4370 | 611.8 | 4981.8
8074205 | B67 | BP Verulam | 24 Mar 2017 | Just refrigeration counter top fridge handle is broken | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Removed old handle and cleaned area. Fitted new and made secure. , |  | 1 | 450 | 450 | 220 | Door handle , | 34 | 289 | 959 | 134.26 | 1093.26
8074333 | B67 | BP Dube Village Mall | 27 Mar 2017 | wild-bean cold room door locked, we cant able to open it. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Repaired and secured the door handle. , |  | 1 | 450 | 450 | 0 | , | 60 | 510 | 960 | 134.4 | 1094.4
8073642 | B67 | BP Verulam | 28 Mar 2017 | Heater elements need to be replaced | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Removed faulty defrost and heating elements to dispose and fitted new. Tested and found no faults. , |  | 2 | 450 | 900 | 3305 | Defrost Element , Heating element , | 34 | 289 | 4494 | 629.16 | 5123.16
8070414 | B67 | BP Bullion Boulevard Express | 2017-02-27 | Replacement of Condenser fan motor | Reactive Maintenance | Cordon of the work area complete with safety cones, danger tape and warning signs. Isolate power to the air-conditioning unit and place a lock tag on the DB. Install a new condenser fan motor. Recommission unit and conduct a test to insure that the unit is working correctly. Clean and make work area safe., |  | 6 | 450 | 2700 | 8383.56 | Condenser fan motor, | 326 | 2771 | 13854.56 | 1939.64 | 15794.2
8074423 | B67 | BP Edendale Service Station | 29 Mar 2017 | Fridge lights are not working | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Replaced 4 x ballasts and 4 x bulbs with new cabling. , |  | 3 | 563 | 1689 | 2620 | Balast, Bulbs , Cable, tape and gloves, | 120 | 1020 | 5329 | 746.06 | 6075.06
8074499 | B67 | BP Northdene | 29 Mar 2017 | Chiller is not cooling .. .. ... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that the fan motor was faulty. Removed and replaced with new. Tested and all was in good working condition. , |  | 2 | 450 | 900 | 1277 | Fan motor, | 60 | 510 | 2687 | 376.18 | 3063.18
[8 empty] | 34 |  | 15639 | 70851.14 |  | 1446 | 12291 | 98781.14 | 13829.36 | 112610.5