## Simple
Sevest Ref. | Invoice No. | Site Name | Date Logged | Issue / Incident Description | Category | Solution: Reason For ADHOC Billing | #R | Labour Hrs. | Rate | Labour Ttl. | Material Ttl. | Material Description | Mileage (Km) | Mileage Ttl | Inv Excl. | TAX | Inclusive | Approved | Seavest Comments | BP Comments
8075170 | B72 | BP Chatsworth Circle | 03 Apr 2017 | Geyser in wild bean cafe is leaking | Reactive Maintenance | Remove the defected geyser and dispose of it safely. Ensure the base is strong enough to support the geyser. Install a new 50l geyser and secure it to the ceiling bracket. Connect water suppliers and electrical supply to the geyser. Turn on the electrical supply and water. Conduct a test for any leaks or defects. Install 4 new ceiling panels. Clean and make site safe., |  | 8 | 450 | 3600 | 5366.21 | 50Lt Kwikot Geyser, 22mm copper elbows, 22mm Copper Pipe, 22mm straight connecters, Vacuum breakers, Ceiling tiles, | 60 | 510 | 9476.21 | 1326.67 | 10802.88
8076555 | B72 | New Germany Service Centre | 12 Apr 2017 | Sinks and basins broken ... ... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Removed damaged hand wash basin. Fitted new basin and P-Trap waste pipe to the toilet. Sealed off and tested. Found no leaks. , |  | 2 | 400 | 800 | 1348 | Hand wash basin, P-Trap and silicone , | 70 | 595 | 2743 | 384.02 | 3127.02
8076803 | B72 | BP Northdene | 13 Apr 2017 | Attendant kiosk door come off the hinges. | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Cordon off work area and replaced faulty door hinge with new. , |  | 1 | 400 | 400 | 190 | Door hinge, | 60 | 510 | 1100 | 154 | 1254
8076902 | B72 | BP Dube Village Mall | 18 Apr 2017 | No tap in women s toilet | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Removed damaged tap mixer to dispose. Fitted new mixer and tested. Found no leaks. , |  | 2 | 400 | 800 | 1339 | Tap mixer, pipe, fittings, Tread tape, sealer and gloves , | 40 | 340 | 2479 | 347.06 | 2826.06
8076825 | B72 | BP Clare Road | 18 Apr 2017 | Air gauge is not working ... | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Barricaded work area. Removed airline hoses. Fitted and made secure with new hose clamps. , |  | 1 | 400 | 400 | 89 | Hose clamps, | 34 | 289 | 778 | 108.92 | 886.92
8076826 | B72 | BP Clare Road | 18 Apr 2017 | Air compressor not working , needs to be replaced | Reactive Maintenance | Conducted risk assessment & completed necessary safety documents. Assessed and found that the airline compressor was not working. Stripped unit and conducted a general service. Clean and topped up with new synthetic oil. Tested and found no faults , |  | 1 | 400 | 400 | 580 | Synthetic Oil , | 0 | 0 | 980 | 137.2 | 1117.2
[8 empty] | 15 |  | 6400 | 8912.21 |  | 264 | 2244 | 17556.21 | 2457.87 | 20014.08